TOWARD A MULTISENSOR GROUND BASED REMOTE SENSING STATION

Catherine Gaffard, Tim Hewison, John Nash
Met Office
Meteorology Building, PO Box 243, Earley Gate, University of Reading, RG6 6BB, UK

Introduction

Future UK operations require several sites using ground based remote sensing techniques to provide an upper air network with better spatial and temporal resolution than currently exists.  There is currently a network of 5 wind profilers that cover the UK and winds are operationally assimilated in our global and mesoscale model. Our goal is to get a continuous monitoring of the lowest 3-km of the troposphere to improve the humidity field and the boundary layer description for numerical weather prediction (NWP). We investigate how a synergy between different ground based remote sensing instruments, like wind profiler, radiometer cloud radar and lidar ceilometer could meet our user needs. A 12-channel microwave radiometer is being trialed and a low cost cloud radar is under development.

A wind profiler and a ceilometer are operationally operated at Camborne in the southwest of England. At present only the wind and the cloud base information obtained from these instruments are used operationally. As it will be illustrated in this paper more information about the vertical structure of temperature and humidity is available in the return signal of the wind profiler and of the ceilometer. The main cause of wind profiler radar returns is due to a Bragg scattering by turbulent inhomogeneities in the refractive index. Therefore there is a close link between the return signal and the gradient of the temperature and the humidity profile. Some studies (Stankov, 2003,1998) have shown that a wind profiler can be used in association with other instruments as RASS, radiometer, GPS, humidity profiles could be retrieved at the vertical resolution of the radar.

Three intensive observation periods have been conducted, when radiosondes were launched hourly. These cover three different situations: development of the convective boundary layer, cloud evolution and clear air situation.

Development of the Convective Boundary Layer Case Study

Figure 1 shows the time-height evolution of the wind profiler signal to noise ratio (SNR). Superimposed in white circles are the cloud bases detected by the ceilometer, which show a lot of broken cloud. The cloud base is in the middle of a wide layer of high wind profiler signal to noise ratio, except for a couple of clouds which are just at the edge of the wind profiler signal. For these clouds, the cloud base appears to be more steady. The altitude range covered by the wind profiler with a high SNR increases from 1000 m at 08:00 to its maximum (2150 m) at around 11:30. During this period, the vertical distribution of the strong wind profiler SNR’s and cloud bases become more spread. This is likely to be due to development of convection in air which is nearly saturated as suggested by the radiosonde profiles.

Above what appears to be the signature of the convective boundary layer, another zone of enhanced signal is highlighted in red. This line nearly coincides with a strong discontinuity in the refractive index (transition from a humid layer to a dry one associated with a temperature inversion). The time height evolution of the square of the gradient of the potential refractive index (Gossard 1998) (dn/dz)2 in Figure 2 shows this discontinuity clearly. (dn/dz)2 can’t reproduce the signature of the convective boundary layer because turbulence is not taken into account. The turbulence contributes to the width of the Doppler spectra and may be retrieved from it, but more signal processing has to be done to make this information accurate (Cornman 1998). It is also possible that  microstructures in the temperature and the humidity that might be associated with the cloud exist. These structures are not well represented by radiosonde profiles.

Figure 1- signal to noise ratio of wind profiler (dB scale) on 14/5/02 at Camborne. White and blue circles show cloud base reported by ceilometer

Figure 2 - Time-height series of square gradient of the refractive index (dB scale) computed from hourly radiosonde on 14/5/02

Figure 3 - Time-height series of humidity profile from radiometer (upper panel) and radiosonde (lower panel), Camborne 14/5/02.

With a very coarse vertical resolution, the radiometer (Figure 3) indicates a humid layer with clouds.  The general evolution of the temperature is also reproduced (Figure 4). A couple of unrealistic measurements occurred between 10:30 and 12:30. These are likely to be the result of water deposit on the radiometer window.

Figure 4 - Time-height series of temperature profile from radiometer (upper panel) and radiosonde (lower panel) , Camborne 14/5/02.

Figure 5 - Same as figure 4 but for 16/05/03.

Figure- 6 Same as figure 3 but for 16/05/03.

Cloud Evolution Case Study

On the 2nd example of wind profiler data (Figure 7), there is a layer of strong signal between 200 m and 600 m, with variable structure above. There are two types of cloud base: from 08:00 to 11:00 the cloud base is very variable and coincides with strong signal, and from 12:30 to 15:00 the cloud base is more stable and is located below the enhanced wind profiler signal. During the morning low stratus broke up into convective cumulus of moderate extent. By the afternoon, an extensive sheet of less convective stratocumulus appears at 1000 m.

Figure 7 - Same as figure 1 but for 15/5/02

Figure 8- Same as figure 2 but for 15/5/02

The evolution of (dn/dz)2 shown in Figure 8 is in good agreement the signal to noise ratio evolution above the first layer of strong signal. This seems to suggests that the structures seen by the wind profiler above 600 m are not dominated by convective turbulence. As in the previous example, the radiometer reproduces the general tendency for the temperature and the humidity but could not resolve the temperature inversion.

Clear air situation

In the third case (Figure 9), there is no low-level cloud. Nevertheless the ceilometer  indicates a double layer (Figure 10). The top of the 1st layer corresponds to a large temperature inversion. The top of the 2nd layer just fits underneath the local maximum of the wind profiler and corresponds to a strong decrease in the humidity and a weak temperature inversion. These 2 layers also reproduce some of the oscillations seen in the wind profiler signal. Aerosols trapped underneath the temperature inversion backscatter the ceilometer signal. The evolution of (dn/dz)2 shown of Figure 11 reproduces the signal to noise ratio. In this case, the radiometer retrieved the temperature inversion correctly and reproduce the oscillation in the humidity field as shown respectively on Figure 5 and 6.

Figure 9 - Same as figure 1 but for 16/5/02

Figure 10 - Ceilometer signal averaged over 5 mn for 16/5/02. Blue curves are temperature profiles.

Figure 11 - Same as figure 2 but for 16/5/02.

Conclusion

The agreement between the gradient of the potential refractive index and the signal to noise is rather good despite no correction being applied for turbulence. Collocation with the ceilometer has allowed us to identify two strengths of convection and confirmed the presence of a temperature inversion. A collocated cloud radar would allow complete discrimination between clear air echo and cloud echo.

In the future, we hope to enhance the vertical resolution of the retrievals from ground-based microwave radiometers with collocated active instruments, such as wind profilers by using an estimation of the gradient of the refractive index with the radiometer assimilation.

# Bibliography

Cornman L. B., R.K.Goodrich, C.S.Morse, and W.L Ecklund,: Fuzzy logic method for improved moment estimation from Doppler spectra. J. Atmos. Oceanic Technology,15, 1287-1305. 1998

Gossard, E. E, D. E. Wolfe, K. P. Moran,R. A. Paulus, K. D. Anderson, and L. T. Rogers: Measurements of clear_air gradients, fluxes and stucture paramaters in elevated layers. J.Appl. Meteor., 21, 211-226 1998.

Stankov, B. B., E.E Gossard, B. .l. Weber, R.J. Lataitis, A. B. White, D. E. Wolfe, D. C. Welsh, R. G. Strauch,: Humidity Gradient Profiles from Wind Profiling Radars Using the NOAA/ETL Advanced Signal Processing System (SPS), J. Atmos. Oceanic Technology.,20. 2003

Stankov B. B.,:Multisensor Retrieval of Atmospheric Properties. Bull. Amer. Meteor. Soc. 79, 1835-1854. 1998.

Cornman L. B., R.K.Goodrich, C.S.Morse, and W.L Ecklund,: Fuzzy logic method for improved moment estimation from Doppler spectra. J. Atmos. Oceanic Technology,15, 1287-1305. 1998

# Footnotes

Corresponding Author:

Catherine Gaffard, mailto:catherine.gaffard@metoffice.com, phone: +44 118 937831, fax: +44 118 3788791